## Sheet1
Model |  | Colorimeter | Source | Notes | Brightness | Contrast | R | G | B | PresetMode
A | Acer AL2616wd | LaCie Blue Eye Pro | Digitalversus
| Acer Aspire 7750G Notebook | Spyder4 | User
| Acer HN274H | LaCie Blue Eye Pro | Digitalversus
| Acer S243HL-V2 | Not specified | User
| Acer X193W | Pantone Huey Pro | User | ACM: Off | 60 | 48 | 50 | 50 | 50 | User
| Acer XB270HU | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.2 | 24 | 50 | 50 | 45 | 46 | User
| Acer XB271HK | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.2 | 35 | 50 | 96 | 96 | 100 | User
| Acer XG270HU | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.2 | 16 | 50 | 97 | 90 | 98 | User
| Acer Predator X34 | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.2 | 34 | 50 | 49 | 49 | 51 | User
| Acer Predator XR341CKA | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.4 | 28 | 50 | 55 | 48 | 48 | User
| Acer Predator Z35 | X-rite i1 Pro + LaCie | TFTCentral | Gamma 1.8 | 21 | 50 | 96 | 93 | 99 | User
| Achieva Shimian 27" IPS Zero-G | X-rite i1 Pro + LaCie | TFTCentral |  | 0 | 50 | 94 | 94 | 100 | User Define
| Achieva Shimian QH270 | X-rite i1 Pro | User |  | 13/30 | - | - | - | - | n/a
| Achieva Shimian QH270-Lite | X-rite i1 Pro | User |  |  | - | - | - | - | n/a
| Achieva Shimian QH300-IPSMS | X-rite i1 Pro + LaCie | TFTCentral |  | 29 | 100 | 80 | 75 | 78 | User
| AOC i2353Ph/Fh (User) | X-rite i1 Pro + LaCie | TFTCentral | Gamma 3 | 25 | 50 | 93 | 97 | 99 | User
| AOC i2353Ph/Fh (Warm) | X-rite i1 Pro + LaCie | TFTCentral | Gamma 3 | 20 | 50 | - | - | - | Warm
| AOC i2757Fh | i1 Display 2 + DispCalGUI | User | Gamma 1 | 10 | 58 | 49 | 49 | 49 | User
| AOC i2757Fm | X-rite i1 Pro + LaCie | TFTCentral | Gamma 1 | 41 | 50 | 49 | 49 | 48 | User
| AOC iF23 | ColorMunki Display | User | Gamma 1 | 21 | 50 | - | - | - | Warm
| AOC q2770PQu | i1 Pro | TFTCentral | Gamma 1 | 22 | 50 | 48 | 49 | 49 | User
| Apple 30" Cinema Display | i1 Display Pro+ ColorEyes Pro | User |  |  |  | - | - | - | -
| Apple iMac 21.5" | Spyder2 + ColorEyes | User | 90 cd/m2 | 7th step | - | - | - | -
| Apple iMac 24" | LaCie Blue Eye Pro | Digitalversus
| Apple iMac 27" | LaCie Blue Eye Pro | Digitalversus
| Apple LED Cinema 24" | LaCie Blue Eye Pro | Digitalversus
| Asus G75VW Laptop | X-rite i1 Display Pro | User
| Asus MG248Q | X-rite i1 Pro + LaCie | TFTCentral |  | 20 | 80 | 100 | 90 | 83 | User Mode
| Asus MG279Q | X-rite i1 Pro + LaCie | TFTCentral |  | 31 | 80 | 100 | 96 | 96 | Racing mode
| Asus ML239H | X-rite i1 Pro + LaCie | TFTCentral |  | 30 | 80 | 100 | 92 | 99 | Standard
| Asus MS246H (User mode) | LaCie Blue Eye Pro | TFTCentral |  | 88 | 80 | 77 | 98 | 88 | User mode
| Asus MS246H (sRGB) | LaCie Blue Eye Pro | TFTCentral |  | 88 | 80 |  |  |  | sRGB
| Asus PA246Q | Manufacturer | Asus
| Asus PA246Q | Spyder4 Elite | User | 180 cd/m2 | 44 | 80 | - | - | - | Standard
| Asus PA246Q (sRGB) | LaCie Blue Eye Pro | Digitalversus | [6 empty] | sRGB
| Asus PA248Q | X-rite i1 Pro + LaCie | TFTCentral |  | 20 | 80 | - | - | - | Standard
| Asus PA248QJ | X-rite i1 Pro + LaCie | TFTCentral |  | 20 | 80 | - | - | - | Standard
| Asus PB278Q | X-rite i1 Pro + LaCie | TFTCentral |  | 27 | 80 | 46 | 50 | 43 | User
| Asus PB278Q | i1 Display Pro + BasICColor 5 | User | Offset 50/49/57 | 27 | 80 | 47 | 47 | 41 | User
| Asus ROG Swift PG278Q | X-rite i1 Pro + LaCie | TFTCentral |  | 20 | 50 | 100 | 100 | 100 | User Mode
| Asus ROG Swift PG279Q | X-rite i1 Pro + LaCie | TFTCentral |  | 25 | 50 | 97 | 93 | 100 | Racing
| Asus ROG Swift PG348Q | X-rite i1 Pro + LaCie | TFTCentral |  | 27 | 50 | 97 | 99 | 100 | Racing
| Asus VG236H | i1 Display Pro + BasICColor 5 | User
| Asus VG236H | i1 Display Pro + DispCalGUI | User | Color Temp:User | 20 | 80 | 99 | 100 | 94 | Standard
| Asus VG248QE | Not listed | Svethardware
| Asus VG248QE (LightBoost) | i1 Display Pro | NCX | 6500k | - | 65 | - | - | - | LB = 10%
| Asus VG248QE (LightBoost) | Spyder4 Pro | User | 6500k | - | 500 | - | - | - | LB = 10%
| Asus VG278HE | X-rite i1 Pro + LaCie | TFTCentral |  | 30 | 70 | 100 | 94 | 74 | Standard
| Asus VH222T | i1 Display 2 | User |  | 10 | 80 | 95 | 93 | 93 | Custom
| Asus VS247 | ColorMunki | User | Native temp | 26 | 85 |  |  |  | Standard
| Asus VS247 | ColorMunki | User | 5000k temp | 5 | 5 |  |  |  | Standard
| Asus VS248H | Unknown | User |  | 45 | 80 | 100 | 75 | 88 | Standard
| Asus VW266H | ColorMunki Display | User | Gamma 2.2 | 100
| Asus X502CA Laptop | ColorMunki Display | User
| Asus X552CL Laptop | Manuf factory profile | User
B | BenQ BL2400PU | Eye One LT + BasICColor | User | ECO = off | 57 | 50 | 85 | 80 | 77 | Gamma 2.0
| BenQ BL2710PT | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2 | 35 | 50 | - | - | - | Standard
| BenQ BL3200PT | X-rite i1 Pro + LaCie | TFTCentral | Gamma = 1 | 26 | 50 | 100 | 97 | 96 | User
| BenQ EW2420 | LaCie Blue Eye Pro | TFTCentral | Gamma 2.0 | 64 | 50 | 80 | 96 | 80 | Standard
| BenQ EW2420 | Spyder2 + Argyll | User | Gamma 2.2 | 20 | 90 | 79 | 66 | 56
| BenQ EW2420 | ColorMunki Smile + Argyll | User | Gamma 1 | 40 | 50 | 93 | 82 | 88 | Standard
| BenQ EW2730V | X-rite i1 Pro + LaCie | TFTCentral | Gamma 1 | 0 | 50 | 100 | 91 | 93 | User mode
| BenQ FP241VW | LaCie Blue Eye Pro | Digitalversus
| BenQ FP241W | LaCie Blue Eye Pro | Digitalversus
| BenQ FP241WZ | LaCie Blue Eye Pro | Digitalversus |  | 50 | 90 | 48 | 48 | 57
| BenQ FP241WZ | Monaco OPTIX | User |  | 60 | 30 | 49 | 49 | 46
| BenQ FP241WZ | Monaco OPTIX | User |  | 40 | 59 | 49 | 49 | 46
| BenQ GW2450HM (User) | X-rite i1 Pro + LaCie | TFTCentral | Gamma 3 | 17 | 50 | 100 | 96 | 98 | User mode
| BenQ GW2450HM (Normal) | X-rite i1 Pro + LaCie | TFTCentral | Gamma 3 | 22 | 50 | - | - | - | Normal mode
| BenQ GW2750H (not HM) | Spyder4 Elite | User | Gamma 3 | 9 | 50 | 88 | 83 | 85
| BenQ GW2750HM (User) | X-rite i1 Pro + LaCie | TFTCentral | Gamma 4 | 14 | 50 | 100 | 100 | 95 | User mode
| BenQ GW2750HM (Normal) | X-rite i1 Pro + LaCie | TFTCentral | Gamma 4 | 14 | 50 | - | - | - | Normal mode
| BenQ PG2401PT (Adobe RGB) | X-rite i1 Pro + LaCie | TFTCentral | Adobe RGB | 4 | 50 | - | - | -
| BenQ PG2401PT (sRGB) | X-rite i1 Pro + LaCie | TFTCentral | sRGB | 4 | 50 | - | - | -
| BenQ GW2760HS | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2 | 12 | 50 | 98 | 100 | 95 | User
| BenQ GW2765HT | X-rite i1 Pro + LaCie | TFTCentral | Gamma 3 | 18 | 50 | 92 | 92 | 100 | User
| BenQ V230H (collection) | BenQ Default | BenQ | Default profiles
| BenQ V2400W | LaCie Blue Eye Pro | Digitalversus
| BenQ XL2410T (collection) | X-rite i1 Pro + LaCie | TFTCentral | see review | [5 empty] | see review
| BenQ XL2420T | X-rite i1 Pro + LaCie | TFTCentral | Gamma 1 | 5 | 50 | 96 | 99 | 95 | Standard
| BenQ XL2420T | i1 Display Pro + BasICColor | User | Gamma 2 | 5 | 50 | 97 | 96 | 94 | Standard
| BenQ XL2720Z | X-rite i1 Pro + LaCie | TFTCentral | Gamma 3 | 20 | 50 | 100 | 100 | 92 | Standard
| BenQ XL2730Z | X-rite i1 Pro + LaCie | TFTCentral | Gamma 3 | 17 | 50 | 95 | 99 | 100 | Standard
C | Crossover 2720MDP | i1 Display Pro + BasICColor 5 | User |  | 28 | 76 | 100 | 95 | 94
| Crossover 27Q LED-P | i1 Display Pro + BasICColor 5 | User
| Crossover 27Q LED-P | Spyder4 Pro | User
| Crossover 27QD Blade LED | Spyder2 Pro | User
D | Dell 1707FP | Spyder3Elite | User | Rev A01 | 84 |  | 91 | 80 | 88
| Dell 2001FP | Default Profile | Dell
| Dell 2209WA | LaCie Blue Eye Pro | Digitalversus
| Dell 2405FPW | LaCie Blue Eye Pro | TFTCentral |  | 35 | 50 | 14 | 34 | 28
| Dell 2405FPW | ColorEyes Display Pro | TFTCentral |  | 50 | 50 | 50 | 50 | 50
| Dell 2407WFP | LaCie Blue Eye Pro | Digitalversus | AO4 | 50 |  |  |  |  | Desktop
| Dell 2407WFP-HC | LaCie Blue Eye Pro | Digitalversus
| Dell 2408WFP | LaCie Blue Eye Pro | TFTCentral | A00 | 20 | 50 | 92 | 90 | 98 | Custom
| Dell 2707WFP | LaCie Blue Eye Pro | Digitalversus
| Dell 2709WFP | LaCie Blue Eye Pro | Digitalversus
| Dell 3007WFP-HC | LaCie Blue Eye Pro | Digitalversus
| Dell 3008WFP | LaCie Blue Eye Pro | TFTCentral | A06 | 30 | 50 | 97 | 100 | 90 | Custom
| Dell 3008WFP | LaCie Blue Eye Pro | Digitalversus
| Dell E6410 | Spyder3 | User | Nvidia ver
| Dell G2410 | LaCie Blue Eye Pro | Digitalversus
| Dell Latitude E6520 FHD | X-rite i1 Display Pro | User | Intel graphics
| Dell Latitude E6520 FHD | X-rite i1 Display Pro | User | NVIDIA graphics
| Dell P2414H | X-rite i1 Pro + LaCie | TFTCentral |  | 34 | 75 | 93 | 96 | 99 | Custom Color
| Dell P2714H | X-rite i1 Pro + LaCie | TFTCentral |  | 29 | 75 | 100 | 98 | 98 | Custom Color
| Dell ST2220T | X-rite i1 Pro + LaCie | TFTCentral |  | 36 | 75 | 97 | 91 | 96 | Custom(RGB)
| Dell S2340L | Not listed | Svethardware |  | 66 | 75 | 94 | 94 | 100
| Dell S2440L | X-rite i1 Pro + LaCie | TFTCentral | A00 | 45 | 75 | 99 | 92 | 92 | Custom Color
| Dell S2409W | Spyder4 Pro | User |  | 80 | 75 | - | - | - | Standard
| Dell S2716DG | X-rite i1 Pro + LaCie | TFTCentral | A00 | 26 | 75 | 97 | 99 | 96 | Standard
| Dell S2740L | X-rite i1 Pro + LaCie | TFTCentral | A00 | 43 | 75 | 100 | 93 | 98 | Custom Color
| Dell S2740L | i1 Display Pro + BasICColor 5 | User | A00 | 35 | 75 | 99 | 91 | 95 | Custom Color
| Dell U2211H | LaCie Blue Eye Pro | TFTCentral | A00 | 58 | 75 | 90 | 99 | 96 | Custom (RGB)
| Dell U2212HM (Standard) | X-rite i1 Pro + LaCie | TFTCentral |  | 38 | 78 | - | - | - | Standard
| Dell U2212HM (Custom) | X-rite i1 Pro + LaCie | TFTCentral |  | 38 | 75 | 99 | 95 | 99 | Custom
| Dell U2311H | LaCie Blue Eye Pro | TFTCentral | A00 | 31 | 75 | 87 | 100 | 93 | Custom (RGB)
| Dell U2312HM (Standard) | X-rite i1 Pro + LaCie | TFTCentral | A00 | 20 | 75 | - | - | - | Standard
| Dell U2312HM (Custom) | X-rite i1 Pro + LaCie | TFTCentral | A00 | 20 | 75 | 92 | 88 | 98 | Custom Color
| Dell U2312HM | Spyder4Express | User | A00 | 22 | 75 | 92 | 88 | 98 | Custom Color
| Dell U2410 | LaCie Blue Eye Pro | TFTCentral | A00 | 30 | 50 |  |  |  | Standard
| Dell U2410 (sRGB) | LaCie Blue Eye Pro | TFTCentral | A00 | 30 | 50 |  |  |  | sRGB
| Dell U2410 | Eye One Display 2 | User |  | 14 | 80 | 90 | 80 | 92
| Dell U2410 | ColorMunki Photo | User |  | 0 | 50 | 85 | 85 | 85
| Dell U2410 | Spyder3Pro | User | A02, gamma 2.0 | 35 | 50 |  |  |  | sRGB
| Dell U2410 | Spyder3Pro | User | A02, gamma 2.2 | 35 | 50 |  |  |  | sRGB
| Dell U2410 | Spyder3 Elite | User | A04 | 13 | 50 |  |  |  | AdobeRGB
| Dell U2410 | Spyder4 | User | A10 | 6 | 50 |  |  |  | AdobeRGB
| Dell U2410 | Spyder3Pro | User | A03 | 48 | 50 |  |  |  | Standard
| Dell U2410 | X-rite i1 Display Pro | User | to 150 cd/m2 | - | - | - | - | - | Standard
| Dell U2412M (Standard) | X-rite i1 Pro + LaCie | TFTCentral | A00 | 35 | 75 | - | - | - | Standard
| Dell U2412M (Custom) | X-rite i1 Pro + LaCie | TFTCentral | A00 | 35 | 75 | 98 | 90 | 92 | Custom Color
| Dell U2412M | ColorMunki Display | User | A02 | 33 | 73 | - | - | - | Standard
| Dell U2412M | X-rite Monaco Optix | User | A03 | 16 | 75 | - | - | - | Standard
| Dell U2412M | Spyder 3 + Color Eyes DP | User | A03 | 25 | 75 | - | - | - | Standard
| Dell U2412M | ColorMunki Display | User | A05 | 27 | 66 | - | - | - | Standard
| Dell U2412M | X-rite i1 Match | User | A05 | 21 | 82 | 86 | 79 | 81 | Custom Color
| Dell U2412M | Spyder3 Express | User | A05 | 30 | 75 | - | - | - | Standard
| Dell U2412M | ColorMunki Display | User | A02 | 58 | 75 | 86 | 89 | 73 | Custom Color
| Dell U2412M | X-rite DTP94 + Argyll | User | 5000k temp | 28 | 75 | 100 | 96 | 76 | Custom Color
100 cd/m2
| Dell U2412M | ColorMunki Display | User | A01 | 37 | 75 | - | - | - | Standard
| Dell U2412M | DTP94 + Argyll | User | A01 | 20 | 80 | 97 | 96 | 97 | Custom Color
| Dell U2413 (Collection) | X-rite i1 Pro + LaCie | TFTCentral | A00 | see review |  |  |  |  | see review
| Dell U2414H | X-rite i1 Pro + LaCie | TFTCentral | A00 | 35 | 75 | 99 | 92 | 98 | Custom Color
| Dell U2415 | X-rite i1 Pro + LaCie | TFTCentral | A00 | 28 | 75 | 100 | 97 | 97 | Custom Color
| Dell U2417H | X-rite i1 Pro + LaCie | TFTCentral | A00 | 46 | 75 | 98 | 97 | 100 | Custom Color
| Dell U2417HJ | X-rite i1 Pro + LaCie | TFTCentral | A00 | 30 | 75 | 99 | 100 | 95 | Custom Color
| Dell U2515H | X-rite i1 Pro + LaCie | TFTCentral |  | 20 | 50 | 100 | 93 | 99 | Custom Color
| Dell U2711 (Collection) | LaCie Blue Eye Pro | TFTCentral | Various | see review | --- |  |  |  | see review
| Dell U2711 | Spyder 3 + Color Eyes DP | User |  | 22 | 50 | 92 | 93 | 94 | Custom Color
| Dell U2713H (Collection) | X-rite i1 Pro + LaCie | TFTCentral | Various | see review |  |  |  |  | see review
| Dell U2713HM (Collection) | X-rite i1 Pro + LaCie | TFTCentral | Various | see review |  |  |  |  | see review
| Dell U2715H | X-rite i1 Pro + LaCie | TFTCentral |  | 19 | 50 | 99 | 95 | 98 | Custom Color
| Dell U2717D | X-rite i1 Pro + LaCie | TFTCentral | A00 | 30 | 75 | 97 | 99 | 99 | Custom Color
| Dell U2913WM (Custom) | X-rite i1 Pro + LaCie | TFTCentral | A00 | 33 | 75 | 96 | 98 | 100 | Custom Color
| Dell U2913WM (sRGB) | X-rite i1 Pro + LaCie | TFTCentral | A00 | 36 | 75 | - | - | - | sRGB
| Dell U3011 (Collection) | LaCie Blue Eye Pro | TFTCentral | Various | see review | --- |  |  |  | Various
| Dell U3014 (Collection) | X-rite i1 Pro + LaCie | TFTCentral | A00 | see review |  |  |  |  | Various
| Dell U3415W | X-rite i1 Pro + LaCie | TFTCentral | A01 | 37 | 75 | 98 | 97 | 100 | Custom color
| Dell UP3214Q | X-rite i1 Pro + LaCie | TFTCentral | Various | see review
| DGM IPS-2701WPH | X-rite i1 Pro + LaCie | TFTCentral |  | 55 | 60 | 100 | 85 | 75 | User
E | Eizo CG241W | LaCie Blue Eye Pro | Digitalversus
| Eizo EV2436W | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.0 | 29 | 50 | 100 | 100 | 97 | User1
| Eizo EV2450 | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.2 | 42 | 50 | 100 | 97 | 98 | User1
| Eizo EV2455 | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.2 | 32 | 50 | 96 | 98 | 99 | User1
| Eizo EV2735W | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.2 | 33 | 50 | 99 | 100 | 98 | User1
| Eizo Foris FG2421 | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.0 | 24 | 50 | 100 | 96 | 90 | User1
| Eizo Foris FS2735 | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.2 | 72 | 50 | 94 | 93 | 99 | User1
| Eizo SX2762W (wide) | X-rite i1 Pro + LaCie | TFTCentral | Software calibr. | 30 | 100 | 99 | 98 | 100 | User 1
| Eizo SX2762W (sRGB) | X-rite i1 Pro + LaCie | TFTCentral | Software calibr. | 35 | 100 | - | - | - | sRGB
F | Fujitsu Celsius H710 FHD | X-rite i1 Display Pro | User
| Fujitsu Lifebook A530 | X-rite i1 Display Pro | User
| Fujitsu Lifebook A531 | X-rite i1 Display Pro | User
| Fujitsu Lifebook AH530 | Manufacturer profile | User
| Fujitsu Lifebook S761 FUJ5612 | X-rite i1 Display Pro | User
| Fujitsu Lifebook T5010 | Spyder2 | User | Gamma 2.4 | - | - | - | - | -
| Fujitsu P27T-6IPS | Spyder3Pro | User | Office mode | 28 | 50 |  |  |  | Native
H | HannsG HG281DJ | LaCie Blue Eye Pro | Digitalversus
| Hazro HZ24W | LaCie Blue Eye Pro | TFTCentral |  | 44 | 68 | 46 | 47 | 42 | User
| Hazro HZ26W | LaCie Blue Eye Pro | TFTCentral |  | 44 | 68 | 54 | 41 | 50 | User
| Hazro HZ26Wi | LaCie Blue Eye Pro | TFTCentral |  | 28 | 66 | 93 | 90 | 88
| Hazro HZ27WA | X-rite i1 Pro + LaCie | TFTCentral | ECO = 25 | 10 | 100 | 30 | 17 | 25 | User
| Hazro HZ27WB | LaCie Blue Eye Pro | TFTCentral |  | 7 | - | - | - | -
| Hazro HZ27WC | X-rite i1 Pro + LaCie | TFTCentral | See review | 2 | - | - | - | -
| Hazro HZ27WiDP | X-rite i1 Pro + LaCie | TFTCentral | DICOM gamma | 10 | 50 | 97 | 94 | 96 | Custom Color
| Hazro HZ30W | LaCie Blue Eye Pro | TFTCentral |  | 3
| Hazro HZ30Wi | LaCie Blue Eye Pro | TFTCentral | Q3 panel | 3
| Hazro HZ30Wie | X-rite i1 Pro + LaCie | TFTCentral | See review | Min | - | - | - | - | n/a
| HP Compaq CQ58 | Manufacturer Profile | User
| HP 23xi | i1 Display Pro | User | Black stretch Low | 44 | 80 | 255 | 235 | 245 | Custom
| HP E231i | Gretag Macbeth i1 | User | 6500k mode | 100 | 80 | - | - | -
| HP LE2201w | Spyder 3 Pro | User | Factory settings
| HP LP2065 | Spyder 3 Pro | User | S-IPS panel | 45 | 82 | 94 | 100 | 90 | Custom
| HP LP2275W | LaCie Blue Eye Pro | TFTCentral |  | 70 | 80 | 252 | 214 | 236 | Custom Color
| HP L2335 | X-rite i1 Display 2 | User |  | 49 | 91 | 42 | 43 | 46 | n/a
| HP LP2475W | LaCie Blue Eye Pro | TFTCentral |  | 17 | 65 | 251 | 235 | 242 | Custom Color
| HP LP2475W | Eye One Display 2 + BasICColor | User |  | 16 | 62 | 254 | 239 | 254
| HP LP2475W | Spyder 3 Elite | User |  | 15 | 66 | 251 | 222 | 236 | Custom Color
| HP LP2480zx | LaCie Blue Eye Pro | Digitalversus
| HP nc6400 | X-rite i1 Display Pro | User | 1400x900 res
| HP ProBook 4340 Laptop | Spyder4 Express | User
| HP Probook 350 G2 | X-rite i1 Display Pro | User
| HP Probook 450 G1 AUO46EC | X-rite i1 Display Pro | User
| HP w2216 | Spyder 3 Pro | User | Factory settings
| HP ZR2240w (Custom) | X-rite i1 Pro + LaCie | TFTCentral |  | 47 | 80 | 235 | 218 | 255 | Custom (RGB)
| HP ZR2240w (Standard) | X-rite i1 Pro + LaCie | TFTCentral |  | 45 | 80 | - | - | - | Standard
| HP ZR2440w (Custom) | X-rite i1 Pro + LaCie | TFTCentral |  | 30 | 80 | 220 | 208 | 215 | Custom (RGB)
| HP ZR2440w (Standard) | X-rite i1 Pro + LaCie | TFTCentral |  | 30 | 80 | - | - | - | Standard
| HP ZR24W (Custom Color) | LaCie Blue Eye Pro | TFTCentral | Contrast = 80 | 25 | 80 | 142 | 186 | 144 | Custom Color
| HP ZR24W (sRGB) | LaCie Blue Eye Pro | TFTCentral | Contrast = 80 | 25 | 80 | - | - | - | sRGB / 6500k
| HP ZR24W (Cust Color v2) | LaCie Blue Eye Pro | TFTCentral | Contrast = 100 | 7 | 100 | 94 | 140 | 99 | Custom Color
| HP ZR24W (sRGB v2) | LaCie Blue Eye Pro | TFTCentral | Contrast = 100 | 7 | 100 | - | - | - | sRGB / 6500k
| HP ZR2740w | X-rite i1 Pro + LaCie | TFTCentral |  | 65 | - | - | - | - | n/a
| HP ZR2740w v2 | X-rite i1 Pro + LaCie | TFTCentral | See review | 20 | - | - | - | -
| HP Z1 Workstation | Spyder4 Pro | User | 27" IPS screen | 60 | - | - | - | -
I | Iiyama B2403WS | X-rite ColorMunki | User |  | 30 | 32 |  |  |  | 6500k
| Iiyama B2409HDS | X-rite i1 Pro | User | Gamma 2 | 50 | 54 | 71 | 71 | 100 | User
| Iiyama E2202WSV | LaCie Blue Eye Pro | TFTCentral |  | 30 | 50 | 91 | 80 | 74
| Iiyama G2773HS | X-rite i1 Pro + LaCie | TFTCentral | i-Style = Off | 40 | 50 | 95 | 91 | 82 | User Color
L | Lenovo T500 2087-A23 | X-rite i1 Display Pro | User | LTN154P3-L02
| Lenovo T510 | X-rite i1 Display Pro | User | B156RW01 V1
| Lenovo T520 | X-rite i1 Display Pro | User | LTN156KT02401
| Lenovo Z50-70 | X-rite i1 Display Pro | User
| LG 22M35 | ColorMunki Smile | User | 6500k |  | 40 | 47 | 42 | 32 | Gamma 2
| LG 23MP55 | X-rite i1 Pro | User | 120 cd/m2 | 32 | 70 | 50 | 49 | 47
| LG 27EA33 | X-rite i1 Display Pro | User | Gamma 1 | 60 | 63 | 50 | 50 | 44 | Custom color
| LG 34UM95 | X-rite i1 Pro + LaCie | TFTCentral | Gamma 0 | 21 | 70 | 50 | 48 | 58 | Custom
| LG IPS231P | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.4 | 11 | 70 | 50 | 47 | 51 | User
| LG IPS235 | Manufacturer | Manufacturer
| LG L1932P | LaCie Blue Eye Pro | TFTCentral
| LG L1960TQ | LaCie Blue Eye Pro | TFTCentral |  | 35 | 67
| LG IPS226V | LaCie Blue Eye Pro | Digitalversus
| LG L226WTQ | LaCie Blue Eye Pro | Digitalversus
| LG L227WT | LaCie Blue Eye Pro | TFTCentral |  | 45 | 50 | 50 | 32 | 45
| LG W2240 | Spyder2 + ColorEyes | User | Gamma 1 | 19 | 70 | 30 | 34 | 50 | User
| LG W2242T | X-rite i1 Display Pro | User
N | NEC EA231WMi Native | LaCie Blue Eye Pro | TFTCentral |  | 50 | 50 |  |  |  | Native
| NEC EA231WMi sRGB | LaCie Blue Eye Pro | TFTCentral |  | 50 | 50 |  |  |  | sRGB
| NEC EA232WMi | X-rite i1 Pro + LaCie | TFTCentral |  | 47 | 50 | - | - | - | Native
| NEC EX231Wp | X-rite i1 Pro + LaCie | TFTCentral |  | 55 | 50 | - | - | - | sRGB
| NEC LCD20WGX2 | LaCie Blue Eye Pro | TFTCentral
| NEC LCD20WGX2 | Spyder 2 Pro | User | sRGB 6500k | 20 | 50 |  |  |  | Standard
| NEC LCD20WMGX2 | ColorEyes Display Pro | User |  | 31.2 | 50 | 91.3 | 87.8 | 100
| NEC LCD2490WUXi | LaCie Blue Eye Pro | TFTCentral | Hardware LUT
| NEC LCD2490WUXi | LaCie Blue Eye Pro | TFTCentral | Graphics LUT | 24.9 | 50 | 184 | 251 | 229
| NEC LCD2490WUXi | SpectraView II | TFTCentral | Contrast Ratio
| NEC LCD2490WUXi | SpectraView II | TFTCentral | Grey-scale
| NEC 24WMGX3 | LaCie Blue Eye Pro | TFTCentral | Color mode 2 | 20 | 50 | 96 | 94 | 93.3 | STD-2
| NEC P232W (collection) | X-rite i1 Pro + LaCie | TFTCentral | Various | see review | -- |  |  |  | Various
| NEC P241W (High Bright) | X-rite i1 Pro + LaCie | TFTCentral | High Bright | 132 | --- | - | - | - | High Bright
| NEC P241W (sRGB) | X-rite i1 Pro + LaCie | TFTCentral | sRGB | 120 | --- | - | - | - | sRGB
| NEC PA231W (Collection) | LaCie Blue Eye Pro | TFTCentral | Various | see review | --- |  |  |  | Various
| NEC PA241W (Collection) | LaCie Blue Eye Pro | TFTCentral | Various | see review | --- |  |  |  | Various
| NEC PA271W (collection) | LaCie Blue Eye Pro | TFTCentral | Various | see review | --- |  |  |  | Various
| NEC PA271W | EyeOne Display 2 | User | Full preset | 114 | n/a | x:0.676 y:0.313 | x:0.184 y:0.720 | x:0.154 y:0.033 | white x:0.322 y:0332
| NEC SV Reference 271 (collection) | X-rite i1 Pro + LaCie | TFTCentral | Various | see review
| Nixeus NX-Vue24 | Spyder4 + ArgyllCMS | Pc Perspective | Gamma off | 40 | 50 | 70 | 63 | 62 | User Define
O | Optiquest Q201WB | X-rite i1 Display Pro | User | to 150cd/m2 | 37 | - | - | - | -
P | Packard Bell Viseo 223 WS | Spyder3 + Argyll | User | Default | [5 empty] | Default
| Philips 191EL | Spyder2 | User |  | 100 | 50 | 94 | 68 | 84
| Philips 200WP7ES | Spyder 3 Pro | User | AUO P-MVA | 45 | 52 | 100 | 96 | 99 | User
| Philips 273E3QHSB | X-rite i1 Pro + LaCie | TFTCentral | Gamma 2.2 | 29 | 50 | 100 | 88 | 100 | User
| Philips BDM4065UC (x2) | X-rite i1 Pro + LaCie | TFTCentral | See review | [5 empty] | See review
Q | QNIX QX2710 | X-rite i1 Pro + LaCie | TFTCentral |  | 20 | 91 | 71 | 71 | 73 | User
| QNIX QX320QHD | X-rite i1 Pro + LaCie | TFTCentral |  | 32 | 89 | 85 | 83 | 84 | User
S | Samsung BX2431 | Eye-One + Match 3 | User | 80 cd/m2 | 29 | 85 | 45 | 37 | 40
| Samsung F2380 | X-rite i1 Pro + LaCie | TFTCentral | Gamma 1 | 49 | 75 | 48 | 42 | 43 | Custom
| Samsung LS19TWHSUVLZD | X-rite i1 Pro | User | Gamma 2 | 35 | 91 | 28 | 28 | 32 | Custom
| Samsung S24A650 | X-rite DTP94 + Argyll | User | Gamma 1 | 42 | 78 | 50 | 50 | 50
| Samsung S27A850D | X-rite i1 Pro + LaCie | TFTCentral | Gamma 1 | 17 | 75 | 43 | 48 | 45 | Custom
| Samsung S27A850D | i1 Display Pro + BasICColor 5 | User |  | 25 | 75 | 35 | 50 | 37 | Mode 1
| Samsung S27B970D (Collection) | X-rite i1 Pro + LaCie | TFTCentral | See Review | [5 empty] | See review
| Samsung SM206BW | LaCie Blue Eye Pro | Digitalversus
| Samsung SM215TW | LaCie Blue Eye Pro | User |  | 30 | 80 | 15 | 32 | 32
| Samsung SM2233RZ | LaCie Blue Eye Pro | TFTCentral |  | 55 | 75 | 18 | 41 | 11
| Samsung SM226BW | LaCie Blue Eye Pro | Digitalversus | AUO panel | [5 empty] | Internet
| Samsung SM226BW | LaCie Blue Eye Pro | Digitalversus | Samsung panel
| Samsung SM226BW | LaCie Blue Eye Pro | Digitalversus | CMO panel | 48 | 75 | 62 | 31 | 26
| Samsung SM2333T | X-rite DTP94 + Argyll | User | Gamma 1 | 52 | 73 | 45 | 53 | 50
| Samsung SM245B | LaCie Blue Eye Pro | TFTCentral |  | 30 | 75 | 58 | 38 | 37
| Samsung SM245T | LaCie Blue Eye Pro | TFTCentral |  | 20 | 75 | 50 | 49 | 54
| Samsung SM305T | LaCie Blue Eye Pro | Digitalversus
| Samsung SM913V | Pantone Huey Pro | User | Gamma 1 | 80 | 80 | 50 | 50 | 50 | Normal
| Samsung SM931C | LaCie Blue Eye Pro | TFTCentral |  | 35 |  | 40 | 32 | 20
| Samsung SM932B Plus | LaCie Blue Eye Pro | TFTCentral |  | 40 | 70 | 58 | 50 | 50
| Samsung SM932MW | LaCie Blue Eye Pro Proof Ed | User |  | 24 |  |  |  |  | Normal
| Samsung SM971P | LaCie Blue Eye Pro | TFTCentral |  | 60 | 70
| Samsung SM971P | Spyder 3 + BasICColor | User | Gamma 3 | 35 | 78 | 29 | 32 | 43
| Samsung U28D590D | X-rite i1 Pro + LaCie | TFTCentral | Gamma 1 | 24 | 75 | 50 | 45 | 40 | Custom
| Samsung U32E850R | Spyder4 Elite | User | Gamma mode 1 | 27 | 51 | 45 | 51 | 51 | Custom
| Samsung XL20 | LaCie Blue Eye Pro | TFTCentral |  | 45 | 80 | 48 | 43 | 50
| Seiki Pro SM40UNP | Spyder4 / Argyll | PC Perspective | Select 6500k mode first before user define | 37 | 50 | 96 | 91 | 100 | User Define
T | Toshiba Satellite Pro L670-1CZ | X-rite i1 Display Pro | User
| Toshiba Tecra A11-1D9 | X-rite i1 Display Pro | User | 1366x768
| Toshiba Tecra S10-163 | X-rite i1 Display Pro | User | 1680x1050
| Toshiba Tecra S11-104 | X-rite i1 Display Pro | User | 1600x900
V | ViewSonic VP2365wb | LaCie Blue Eye Pro | TFTCentral |  | 67 | 70 | 62 | 97 | 78 | User Color
| ViewSonic VP2770-LED (collection) | X-rite i1 Pro + LaCie | TFTCentral | see review
| ViewSonic VP2772 (Native) | X-rite i1 Pro + LaCie | TFTCentral |  | 23 | 70 | - | - | - | Native
| ViewSonic VP2772 (User) | X-rite i1 Pro + LaCie | TFTCentral |  | 28 | 70 | 99 | 94 | 100 | User
| ViewSonic VP2780-4K | X-rite i1 Pro + LaCie | TFTCentral |  | 8 | 70 | 92 | 92 | 100 | User Color
| ViewSonic VX2435WM | LaCie Blue Eye Pro | TFTCentral |  | 30 |  |  |  |  | User
| ViewSonic VX2739wm | LaCie Blue Eye Pro | TFTCentral | User Color | 69 | 70 | 71 | 86 | 85 | User Color
| ViewSonic VX2739wm | LaCie Blue Eye Pro | TFTCentral | 6500k | 69 | 70 | - | - | - | 6500k mode
| ViewSonic VX2835WM | LaCie Blue Eye Pro | Digitalversus
| ViewSonic VX922 | LaCie Blue Eye Pro | Digitalversus
| Vizio-M-Series Razor Mxx1D | i1 Display Pro | User | Backlight 52 | 50 | 59 | - | - | - | Normal
Y | Yamakasi Catleap Q270SE | X-rite DTP94 | User |  | 10 steps up | - | - | - | - | -